GetPMVFromPPD method calculates positive value

---
Ihol=Isky+IDN sinθ
Direct normal
   radiation IDN
Diffuse horizontal
radiation Isky
Global horizontal radiation Ihol
q
f
q
g
Absorptance
Reflectance
Transmittance
Heat transfer

---
ImmutableMoistAir
MoistAir
+Get State of moist air
+Set State of moist air
+Get State of moist air
-G
p1
g1
p2
G
P
g2
To fix value of the potential, set true to the IsBoundaryNode property
To make constant energy flow, use ExternalFlow property
Concrete
Room 1
Room 2
18
232
4.2
kJ/(m2 K)
kJ/(m2 K)
kJ/(m2 K)
174
109
86
638
703
(m2K)/kW
(m2K)/kW
(m2K)/kW
(m2K)/kW
(m2K)/kW
A:RA=167
1
2
C:RC=840
3
7.06
7.06
B:
RB=192
D:RD=4950
Plywood
Air gap
Rock Wool

---
Radiation from ambient object
I
Wall surface temperature
TW
Wall
Operative temperature
TS
Ambient temperature
TA
1600 0.35
後述 後述
後述 後述
80 0.035
716 0.19
熱伝達率= 11.6 [W/m2-K]
716 0.19
Ta(0)
T0
T1
Tm
TM-2
TM-1
TM
Ta(M)
…
…
Volumetric specific heat
[kJ/(m3K)]
Thermal conductivity
[W/(mK)]
Top surface of floor
Flexible board
1600
0.35
4186
0.59
Packed water
Water tube
4186
0.59
Packed water
80
0.035
Polystyrene foam
716
0.19
Plywood
Air gap
Heat transfer coef.= 11.6 W/(m2K)
Plywood
716
0.19
Bottom surface of floor
9
15
9
20
20
20
16.5

---
IHeatGain[]
ISurface[]
Outdoor
Zone
Sun
WallSurface[]
IHeatGain[]
Window[]
ISurface[]
MoistAir
Zone
Room
MultiRoom
“UpperTemperature”
 of liquid state
“Upper Temperature”
of two phase state
Liquid state
Two phase state
Solid state
Volumetric specific heat λ1
Thermal conductivity α1
Volumetric specific heat λ2
Thermal conductivity α2
Volumetric specific heat λ3
Thermal conductivity α3
WallMaterial 1
WallMaterial 2
WallMaterial 3

---
Supply air
10CMH
Sun shade
3,000
10CMH
Ventilation
10CMH
4,000
3,000
Heat source
Sensible radiation：100W
Sensible convection：100W
　　Latent： 20W
Section
Exhaust air
10CMH
S
N
5,000
5,000
Plan
Heat transfer by convection
Heat transfer by radiation
W1
W1
W2
W3
W2
W3
Z1
W4
W5
W4
W5
Z2
W6
W6
4,000
3,000
3,000
2,000